Enhancing Stability of Russian NPPs under Construction against Natural and Man-induced Effects

Following the Rostechnadzor requirement (letter No. 00-03-05/90 of 03.02.2012 on safety analysis of the NPPs being sited and constructed), the operating organization Concern Rosenergoatom has performed analysis of a degree of protection of the NPPs under construction from extreme external effects. The relevant reports have been submitted to Rostechnadzor, and their review is about to be completed.

Preliminary results show that Concern Rosenergoatom analyzed the lessons from the Fukushima Daiichi accident and scheduled a series of actions to implement these lessons. So, although Novovoronezh 2 has both active and passive safety systems (the latter allow to ensure the reactor safety during a long time under NPP blackout), the design will be supplemented with special engineered features such as a mobile diesel generator, a mobile pump, an additional loop for heat removal to the ultimate heat sink, which would allow the performance of the main safety functions without the passive safety systems in operation.

The review of the analyses of a degree of protection of the NPPs under construction against extreme external effects is still ongoing.